Ultrafast artificial intelligence at the Edge
Scientific Achievement
Analog signal processing that directly feeds sub-20 microsecond latency machine learned identification of desirable x-ray SASE sub-structure.
Significance and Impact
Analog signal processing transforms detector signal to ideal ML-model input.
FPGA-based inference neural network for autonomous decisions with 20 microsecond latency.
Research Details
  1. Initial test with surrogate HHG laser source and newly designed electron Time-of-Flight (ToF) spectrometer
  2. Analog signal processing that transforms raw Micro-channel plate (MCP) signals directly into the representation needed for the neural network.
  3. Shallow neural network for on-the-fly decision making that uses the 16-fold angular array of electron ToF spectrometers
  4. FPGA-based identification of the number of sub-spikes in SASE XFEL shots with decision times below 20 microseconds.
Next Steps
  1. Use 8-fold differential retardation to simulate angular streaking results.
  2. Measure linear streaking in PULSE lab with analog pre-processing circuit and on-digitizer FPGA neural network.
  3. Incorporate recently measured wave forms to benchmark inference fidelity in both over- and under-sampling regimes.
  4. Improve the “confusion matrix” for increasing numbers of SASE sub-spikes.
Non-linear Time-to-analog conversion logic. The top panel shows a few-hit single shot, central demonstrates the non-linear voltage ramp used for the “sample and hold”, and the right panel the resulting histogram.
Work was funded by DOE-BES – Scientific User Facilities under FWP 100498 with personnel support provided by LCLS Experimental Facilities FWP 10074.
[Speaker Notes: HL Type: User___, Staff___, User & Staff___ 1-2 paragraph description of highlight Insert a ~ 200 word description of the highlight here. Collaborating Institutions Funding Overview Section (check all relevant sources) BES Funding: MSED___, CSGB___, EFRC___, SUFD___ SC Funding: ASCR___, BES___, BER___, FES___, HEP___, NP___, WDTS___, SBIR___, etc. Other Funding: DOD___, DOE___, NIH___, NSF___, etc. Funding details for all sources: Publication/ press releases/ related links:]